## Mitsubishi
item | code | name | descriptoon | system | corrolation
0 | 9343 | لاک شیت داخلی | ACTIVE POWER | generator | 1
1 | 9344 | لاک شیت داخلی | REACTIVE POWER | generator | 1
2 | 9345 | لاک شیت داخلی | FREQUENCY | generator | 1
6 | 9346 | لاک شیت داخلی | GEN.VOLTAGE | generator | 1
7 | 9347 | لاک شیت داخلی | POWER FACTOR | generator | 1
8 | 9348 | لاک شیت داخلی | LINE1 CURRENT | generator | 1
9 | 9349 | لاک شیت داخلی | LINE2 CURRENT | generator | 1
10 | 9350 | لاک شیت داخلی | LINE3 CURRENT | generator | 1
11 | 9351 | لاک شیت داخلی | FIELD VOLTAGE | generator | 1
12 | 9352 | لاک شیت داخلی | FIELD CURRENT | generator | 1
13 | 9353 | لاک شیت داخلی | TAP POSITON | generator | 0
14 | 9354 | لاک شیت داخلی | MAX.STATOR COIL TEMP. | generator | 1
15 | 9355 | لاک شیت داخلی | EXH.AVE.TEMP | turbo-compressor | 1
16 | 9356 | لاک شیت داخلی | CBSTR.PRESSUR | turbo-compressor | 1
17 | 9357 | لاک شیت داخلی | COMP.IN T | turbo-compressor | 1
18 | 9408 | لاک شیت داخلی | TURBINE BRG MAX VIB ABS | turbo-compressor | 1
19 | 9358 | لاک شیت داخلی | TURBINE BRG VIB X | turbo-compressor | 1
20 | 9359 | لاک شیت داخلی | TURBINE BRG VIB Y | turbo-compressor | 1
21 | 9360 | لاک شیت داخلی | COMP BRG VIB (JOURNAL) X | turbo-compressor | 1
22 | 9361 | لاک شیت داخلی | COMP BRG VIB (JOURNAL) Y | turbo-compressor | 1
23 | 9362 | لاک شیت داخلی | GEN BRG VIB (COMP.) X | generator | 1
24 | 9363 | لاک شیت داخلی | GEN BRG VIB (COMP.) Y | generator | 1
25 | 9364 | لاک شیت داخلی | GEN BRG VIB (EXE SIDE) X | generator | 1
26 | 9365 | لاک شیت داخلی | GEN BRG VIB (EXE SIDE) Y | generator | 1
27 | 9366 | لاک شیت داخلی | EXE. BRG VIB X | generator | 1
28 | 9367 | لاک شیت داخلی | EXE. BRG. VIB Y | generator | 1
29 | 9409 | لاک شیت داخلی | ROTOR DISPLITMENT | turbo-compressor | 0
30 | 9368 | لاک شیت داخلی | TURBINE BRG.DR.TEMP. | turbo-compressor | 1
31 | 9369 | لاک شیت داخلی | COMP.BRG.DR.TEMP(JOURNAL) | turbo-compressor | 1
32 | 9370 | لاک شیت داخلی | COMP.BRG.DR.TEMP(THRUST) | turbo-compressor | 1
33 | 9371 | لاک شیت داخلی | GEN.BRG.DR.TEMP(COMP.SIDE) | generator | 1
34 | 9372 | لاک شیت داخلی | GEN.BRG.DR.TEMP(EXC.SIDE) | generator | 1
35 | 9373 | لاک شیت داخلی | EXC.BRG.DR.TEMP. | generator
36 | 9374 | لاک شیت داخلی | LUBE OIL PRESSUR | lube oil | 1
37 | 9375 | لاک شیت داخلی | LUBE OIL TEMP | lube oil | 1
38 | 9411 | لاک شیت داخلی | LUB OIL TANK LEVEL | lube oil | 1
39 | 9410 | لاک شیت داخلی | CONTROL OIL PRESS | control oil | 1
40 | 9376 | لاک شیت داخلی | FUEL GAS PRESSUR | fuel gas | 1
41 | 9377 | لاک شیت داخلی | FUEL GAS FLOW | fuel gas | 1
42 | 9378 | لاک شیت داخلی | FUEL GAS TEMP. | fuel gas | 1
43 | 9379 | لاک شیت داخلی | FUEL OIL FLOW | fuel oil | 1
44 | 9380 | لاک شیت داخلی | FUEL OIL PRESSUR | fuel oil | 1
45 | 9381 | لاک شیت داخلی | COMP. OUTLET TEMP. | turbo-compressor | 1
46 | 9382 | لاک شیت داخلی | R.C.A.TEMP-Left | turbo-compressor | 1
47 | 9383 | لاک شیت داخلی | R.C.A.TEMP-Right | turbo-compressor | 1
48 | 9384 | لاک شیت داخلی | D.C 2 TEMP-Left | turbo-compressor | 1
49 | 9385 | لاک شیت داخلی | D.C 2 TEMP-Right | turbo-compressor | 1
50 | 9386 | لاک شیت داخلی | D.C 3 TEMP-Left | turbo-compressor | 1
51 | 9387 | لاک شیت داخلی | D.C 3 TEMP-Right | turbo-compressor | 1
52 | 9388 | لاک شیت داخلی | D.C 4 TEMP-Left | turbo-compressor | 1
53 | 9389 | لاک شیت داخلی | D.C 4 TEMP-Right | turbo-compressor | 1
54 | 9412 | لاک شیت داخلی | B.P.T AV. TEMP | turbo-compressor | 1
55 | 9390 | لاک شیت داخلی | MAX BLADE PATH DIFF TEMP | turbo-compressor | 1
56 | 9391 | لاک شیت داخلی | BLADE PATH DIFF TEMP2 | turbo-compressor | 1
57 | 9392 | لاک شیت داخلی | BLADE PATH DIFF TEMP3 | turbo-compressor | 1
58 | 9393 | لاک شیت داخلی | BLADE PATH DIFF TEMP4 | turbo-compressor | 1
59 | 9394 | لاک شیت داخلی | BLADE PATH DIFF TEMP5 | turbo-compressor | 1
60 | 9395 | لاک شیت داخلی | BLADE PATH DIFF TEMP6 | turbo-compressor | 1
61 | 9396 | لاک شیت داخلی | BLADE PATH DIFF TEMP7 | turbo-compressor | 1
62 | 9397 | لاک شیت داخلی | BLADE PATH DIFF TEMP8 | turbo-compressor | 1
63 | 9398 | لاک شیت داخلی | BLADE PATH DIFF TEMP9 | turbo-compressor | 1
64 | 9399 | لاک شیت داخلی | BLADE PATH DIFF TEMP10 | turbo-compressor | 1
65 | 9400 | لاک شیت داخلی | BLADE PATH DIFF TEMP11 | turbo-compressor | 1
66 | 9401 | لاک شیت داخلی | BLADE PATH DIFF TEMP12 | turbo-compressor | 1
67 | 9402 | لاک شیت داخلی | BLADE PATH DIFF TEMP13 | turbo-compressor | 1
68 | 9403 | لاک شیت داخلی | BLADE PATH DIFF TEMP14 | turbo-compressor | 1
69 | 9404 | لاک شیت داخلی | BLADE PATH DIFF TEMP15 | turbo-compressor | 1
70 | 9405 | لاک شیت داخلی | BLADE PATH DIFF TEMP16 | turbo-compressor | 1
71 | 9406 | لاک شیت داخلی | PLADE PATH DIFF TEMP17 | turbo-compressor | 1
72 | 9407 | لاک شیت داخلی | BLADE PATH DIFF TEMP18 | turbo-compressor | 1
73 | 8288 | TURB/ A- RACK | DIFF EXP | turbo-compressor | 1
74 | 8330 | CCW | GEN.INLET AIR TEMP. | generator | 1
75 | 8331 | CCW | GEN.OUTLET AIR TEMP. | generator | 1
76 | 8333 | CCW | C.W. OUTLET TEMP. | generator | 1
77 | 8335 | CCW | C.W PUMP OUT LET PRESS | generator | 1
78 | 8338 | CCW | C.W.INLET PRESSUR | generator | 1
79 | 8339 | CCW | C.W OUT LET PRESS | generator | 1
80 | 8341 | Lube Oil | L.O.FILTER DIF.PRESSUR | lube oil | 0
81 | 8342 | Lube Oil | L.O.TANK LEVEL | lube oil | 1 | ?
82 | 8343 | Lube Oil | L.O.TANK TEMP | lube oil | 0
83 | 8344 | Lube Oil | L.O.TANK VAP.PRESSUR | lube oil | 0
84 | 8346 | Lube Oil | OVER SPEED PRESS | lube oil | 1
85 | 9286 | Lube Oil | Main Lube Oil Pump Press | lube oil | 1
86 | 9287 | Lube Oil | LUB OILL LINE PRESS | lube oil | 1
87 | 9290 | Hydraulic | MAIN CONTROL OIL PRESSUR | control oil | 1
88 | 9291 | Hydraulic | CONTROL OIL TANKTEMP. | control oil | 1
89 | 9307 | Air Instrument | PURGE AIR PRESSUR | instrument air system | 0
273 | 8332 | CCW | C.W.INLET TEMP. | generator | 1
339 | 9310 | Air Intake | DP.AIR FILTER | turbo-compressor | 0
4994 | 9312 | Turning Gear | AC LUBE OIL PUMP PRESS. | lube oil | 1
4995 | 9314 | Turning Gear | L.O.TANK TEMP | lube oil | 0
4996 | 9315 | Turning Gear | L.O.FILTER DIF.PRESSUR | lube oil | 0
4997 | 9316 | Turning Gear | L.O. HEADER PRESS | lube oil | 1
4998 | 9317 | Turning Gear | L.O.TANK LEVEL | lube oil | 1
4999 | 9318 | Turning Gear | L.O.TANK VAP.PRESSUR | lube oil | 1
6320 | 9308 | Air Instrument | INS. AIR TANK PRESS | instrument air system | 1
266913 | 12938 | Lube Oil | AC LUBE OIL PUMP PRESS. | lube oil | 1
266916 | 12939 | Lube Oil | L.O. HEADER PRESS | lube oil | 1
1
|  | AssetID_8341 | L.O.FILTER DIF.PRESSUR
|  | AssetID_8342 | L.O.TANK LEVEL
|  | AssetID_8343 | L.O.TANK TEMP
|  | AssetID_8344 | L.O.TANK VAP.PRESSUR
|  | AssetID_8346 | OVER SPEED PRESS
|  | AssetID_9286 | Main Lube Oil Pump Press
|  | AssetID_9287 | LUB OILL LINE PRESS

## Ansaldo
| AssetID | Description | Sys | corrolation
0 | 11149 | FILTER GAS PRESS | Fuel Gas | 1
1 | 11150 | DP.FILTER IN SERVICE | Fuel Gas | 1
2 | 11151 | CONTROL GAS PRESS | Fuel Gas | 0
3 | 11153 | PRESS.UP.STREAM S.R | Fuel Gas | 1
4 | 11097 | BLOW OF TANK PRESS | turbo-compressor | 0
5 | 11120 | Heat Exch.Oil Inlet Temp | lube oil | 1
6 | 11122 | Heat Exch.Water Inlet Temp | CCW | 1
7 | 11123 | Heat Exch.Water Outlet Temp | CCW | 1
8 | 11115 | DP.OILFILTER | lube oil | 1
9 | 11113 | OIL PUMP DISCH.PRESS. | lube oil | 1
10 | 11114 | OIL TEP.AFTER FILTER | lube oil | 0
11 | 11116 | OIL PRESS.AFTER FILTER | lube oil | 1
12 | 11125 | HYDROLIC OIL PUMP PRESSUR | Hydraulic | 1
13 | 11128 | HEADER PRESS | Hydraulic | 1
14 | 11126 | COOLING PUMP PRESSUR | Hydraulic | 1
15 | 11131 | OIL TANK TEMP | lube oil | 1
16 | 11132 | BEARING OIL PRESS CE | lube oil | 1
17 | 11133 | BEARING OIL PRESS OCE | lube oil | 1
18 | 11135 | OUT LET DP COOLER PRESS MAX | Generator | 0
34 | 11170 | DP.AIR FILTER | Air Intake | 1
35 | 11171 | AIR PRESSUR AFTER REG. | Air Intake | 0
43 | 11146 | OUTLET PRESSER | CCW | 1
44 | 11140 | PUMP DISCH.TEMP. | CCW | 1
45 | 11141 | INLET COOLER TEMP. | CCW | 1
46 | 11142 | OUTLET COOLER1TEMP | CCW | 1
47 | 11143 | OUTLET COOLER2 TEMP. | CCW | 1
48 | 11144 | SURG TANK LEVEL | CCW | 0
86 | 12186 | ACTIVE POWER | Generator | 1
87 | 12188 | REACTIVE POWER | Generator | 1
88 | 12191 | GEN.VOLTAGE | Generator | 1
89 | 12192 | POWER FACTOR | Generator | 1
90 | 12193 | FREQUANCY | Generator | 1
91 | 12195 | LINE VOLTAGE | Generator | 1
92 | 12196 | LINE1 CURRENT | Generator | 1
93 | 12197 | LINE2 CURRENT | Generator | 1
94 | 12198 | LINE3 CURRENT | Generator | 1
95 | 12199 | FIELD VOLTAGE | Generator | 1
96 | 12200 | FIELD CURRENT | Generator | 1
97 | 12201 | TETC | turbo-compressor | 1
98 | 12202 | IGV.POSITION | turbo-compressor | 1
99 | 12203 | FUEL GAS PRESS.AFT.FILTER | fuel gas | 1
100 | 12204 | FUEL GAS TEMP.AFTER FILTER | fuel gas | 0
101 | 12205 | FUEL GAS FLOW | fuel gas | 1
102 | 12258 | FULE GAS PRESS AFTER ESV | fuel gas | 1
103 | 12206 | C.C.DP.RIGHT | turbo-compressor | 1
104 | 12207 | C.C.DP.LEFT | turbo-compressor | 1
105 | 12208 | AMBIENT TEMP. | turbo-compressor | 1
106 | 12209 | CMPRESOR INLET PRESSUR | turbo-compressor | 1
107 | 12210 | COMPRESOR OUTLET PRESSUR | turbo-compressor | 1
108 | 12276 | COPPRESOR OUT LET TEMP | turbo-compressor | 1
109 | 12245 | Turb Exh Temp1\t\t\t | turbo-compressor | 1
110 | 12246 | Turb Exh Temp2 | turbo-compressor | 1
111 | 12248 | Turb Exh Temp3 | turbo-compressor | 1
112 | 12249 | Turb Exh Temp4 | turbo-compressor | 1
113 | 12250 | Turb Exh Temp5 | turbo-compressor | 1
114 | 12252 | Turb Exh Temp6 | turbo-compressor | 1
115 | 12260 | MAX MBR | turbo-compressor | 1
116 | 12211 | GEN. BRG.TEMP---COMP. SIDE | Generator | 1
117 | 12322 | GEN.BRG.TEMP---EXCITER SIDE | Generator | 1
118 | 12213 | COMPRESOR JOURNAL BRG. TEMP. | turbo-compressor | 1
119 | 12214 | MAX.COMP.TRUST BRG.TEMP. | turbo-compressor | 1
120 | 12215 | TURBINE BRG.TEMP | turbo-compressor | 1
121 | 12217 | GEN.BRG.Rel.VIBR.---EXCIT.SIDE | Generator | 1
122 | 12218 | GEN.BRG.Abs.VIBR.---EXCIT.SIDE | Generator | 1
123 | 12219 | GEN.BRG.Rel.VIBR.---COMP.SIDE | Generator | 1
124 | 12220 | GEN.BRG.Abs.VIBR.---COMP.SIDE | Generator | 1
125 | 12221 | COMP.BRG.Rel.VIBR. | turbo-compressor | 1
126 | 12222 | COMP.BRG.Abs.VIBR. | turbo-compressor | 1
127 | 12223 | TURB.BRG.Rel.VIBR. | turbo-compressor | 1
128 | 12224 | TURB.BRG.Abs.VIBR. | turbo-compressor | 1
129 | 12225 | MAX.STATOR COIL TEMP. | Generator | 1
130 | 12226 | ROTOR COIL TEMP. | Generator | 1
131 | 12228 | SLIP RING HOUSING TEMP. | Generator | 1
132 | 12230 | MAX.GEN.CORE TEMP | Generator | 1
133 | 12277 | MAX AIR COOLER OUT LET TEMP | Generator | 0
134 | 12262 | HYD. FEED LINE PRESS | Hydraulic | 1
135 | 12263 | HYD. OIL TANK TEMP | Hydraulic | 1
136 | 12265 | LUB OIL TANK LEVEL | lube oil | 1
137 | 12267 | BRG. OIL FEED TEMP | lube oil | 1
138 | 12268 | BRG. OIL PRESS | lube oil | 1
139 | 12269 | CL. WTR PRESS DOWNSTR PUMP | CCW | 1
140 | 12271 | CL. WTR TEMP DOWNSTR PUMP | CCW | 1
141 | 12272 | CL.WTR TEMP DOWNSTR GEN COOLER | CCW | 1
142 | 12274 | SURGE TANK LEVEL | CCW | 0
143 | 12231 | FUEL OIL TANK LEVEL | Fuel Oil | 0
144 | 12233 | FUEL OIL PRESS.AFTER INJ.PUMP | Fuel Oil | 1
145 | 12235 | FUEL OIL FEED LINE FLOW | Fuel Oil | 1
146 | 12237 | FUEL OIL FEED LINE TEMP. | Fuel Oil | 0
147 | 12239 | FUEL OIL RETURN LINE PRESS. | Fuel Oil | 1
148 | 12241 | FUEL OIL RETIRN LINE FLOW | Fuel Oil | 1
149 | 12243 | FUEL OIL RETURN LINE TEMP. | Fuel Oil | 0
150 | 12279 | FULE OIL LEAK PRESS | Fuel Oil | 1
193 | 11145 | INLET PRESSER | CCW | 0
4656 | 11157 | FORWAR DP FILTER PRESS | Fuel Oil | 1
4657 | 11159 | FORW PUMP DISH PRESS | Fuel Oil | 1
111016 | 12940 | TUR.LIFTING PRESS. | Lube Oil | 1
111017 | 12942 | GEN.LIFTING PRESS. | Lube Oil | 1
457790 | 11166 | INJECTION FILTER DP | Fuel Oil | 1
457791 | 11163 | INJ. PUMP INLET PRESS | Fuel Oil | 1
457792 | 11164 | INJ. PUMP OUT LET PRESS | Fuel Oil | 1
457793 | 11169 | FORWARD LINE PRESS | Fuel Oil | 1
457794 | 11167 | RETERN LINE PRESS | Fuel Oil | 0
2912578 | 13186 | دمای پکیج توربین | turbo-compressor | 0